## 1200
TAXI RANK: NDHAMBI |  |  |  |  | SECTION 1200
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV | QUANTITY THIS | AMOUNT PREV | AMOUNT THIS CERTIFICATE | QUANTITY TO | AMOUNT TO
[6 empty] | CERTIFICATE | CERTIFICATE | CERTIFICATE |  | DATE | DATE
1200 | GENERAL REQUIREMENTS AND PROVISIONS
12.02 | Services
| a) Relocation and Protecttion of existing services | Prov. Sum |  | 30000 | 30000 | 0.25 | 0.35 | 1250 | 10500 | 0.6 | 11750
| b) Handling cost and profit in respect of subitem 12.02(a) | % | 30000 | [5 empty] | 0
B12.04 | (i)(a) Renumeration of the Community Liason Officer | P.C. Sum |  | 36000 | 36000 | 0.2 | 0.2 | 2000 | 7200 | 0.4 | 9200
| b) Handling cost and profit in respect of subitem 12.04(i)(a) | % | 36000 |  |  | 2000 | 2000 | 200 | 0 | 4000 | 200
| (ii)(a) Renumeration of the Trainee Student | P.C. Sum |  | 39000 | 39000 |  |  |  | 0
| b) Handling cost and profit in respect of subitem 12.04(ii)(a) | % | 39000 | [5 empty] | 0
12.05 | (a) Prime cost item for payment to landowners for | [7 empty] | 0
borrow material loss of crop or other matters
| (i) Payment by contractor to landowners | Prov. Sum | 1 | 8000 | 8000 |  |  |  | 0
| (ii) Percentage item 12.05(a)(i) for contractors charges and profit | % | 8000 | [5 empty] | 0
12.06 | The setting out and protection of beacons | Prov. Sum | 1 | 5000 | 5000 |  | 0 |  | 0
| (ii) Percentage item 12.06 for contractors charges and profit | % | 5000
12.27 | Monthly site meetings | No | 6 |  |  | 0.25 | 0.125 | 1000 | 0 |  | 1000
12.28 | Legal provisions | Lump Sum | 1 | [5 empty] | 0
12.32 | Accredited training
| (a) Generic skills | P.C. Sum |  | 100000 | 100000 |  |  |  | 0
| (b) Entrepreneurial skills | P.C. Sum |  | 50000 | 50000 |  |  |  | 0
| c) Handling cost and profit in respect of subitem 12.32(a) and (b) above | % | 150000 | [5 empty] | 0
12.52 | [6 empty] | 0 | 0 | 0 | 0 | 0
0
0
0
1200 | TOTAL CARRIED TO SUMMARY | [6 empty] | 4450 | 17700 |  | 22150

## 1300
TAXI RANK: NDHAMBI |  |  |  | SECTION 1300
ITEM | DESCRIPTION | UNITS | QUANTITY | RATE | AMOUNT |  |  | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
[6 empty] | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE
1300 | CONTRACTORS ESTABLISHMENT ON SITE
AND GENERAL OBLIGATIONS
B13.01 | The contractors general obligations :
| (a) Fixed obligations | Lump-sum | 1 |  |  | 0.5 | 0.4 | 40000 | 0 | 0.9 | 40000 | #DIV/0!
| (b) Value-related obligations | Lump-sum | 1 |  |  | 0.4 | 0.2 | 12000 | 0 | 0.6 | 12000
| (c) Time-related obligations | Month | 6 |  |  | 1 | 1.5 | 20000 | 0 | 2.5 | 20000
1300 | TOTAL CARRIED TO SUMMARY |  |  |  | 0 |  |  | 72000 | 0 |  | 72000
Contract No: G/G/M/6104/009/2021

## 1400
TAXI RANK:NDHAMBI
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | RATE
1400 | HOUSING, OFFICES AND LABORATORIES FOR
THE ENGINEER'S SITE PERSONNEL
14.01 | Office and laboratory accommodation:
The provision of accommodation as specified,
including roof, external and internal walls,
windows complete with glazing, doors with
locks and fittings burglar proofing, painting,
floors, fencing, the provision of a 220/250 volt
electrical installation with wiring, switchboards,
etc, water and sewerage installation, and
stores, complete, in accordance with the
drawings and specifications, except for items
scheduled elsewhere :
| (a) Offices (interior floor space only) | m² | 3 |  |  | 0
| (b) Laboratories (interior floor space only) | m² | 3
| (c) Open concrete working floors, 150mm thick | m² | 3 |  |  | 0
| (d) Roofs over open concrete working floors | m² | 3
| (e) Ablution units | m² | 2
14.02 | Office and laboratory furniture:
| (a) Chairs | No. | 2
| (b) Draughtsman's stools | No. | 1
| (c) High chairs for laboratory | No. | 0
| (d) Desks, complete with drawrs and locks | No. | 1
| (e) Drawing tables | No. | 1
| (f) Conference tables | No. | 1
B14.03 | Office and laboratory fittings, installations
and equipment:
(a) Items measured by number :
| (i) 220/250 volt power points | No. | 2
(iii) Double 80 watt fluorescent-light
| fittings complete with ballast and tubes | No. | 2
(vi) Wash-hand basins complete with
| taps and drains | No. | 1
| (vii) Rain gage | No. | 2
1400 | TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| AMOUNT BROUGHT FORWARD |  |  |  | 0
(viii) Extractor fans installed complete with
| own power connection | No. | 1
(x) Fire extinguishers, 9,0kg, all purpose dry
powder type, complete, mounted on wall
| with brackets | No. | 1
(xi) Air-conditioning units with, 2,2kW
minimum capacity, mounted and with
| own power connection | No. | 1
(xiv) General - purpose steel cupboards
| with shelves | No. | 1
| (xvi) Refrigerators | No. | 1
| (xviii) Voltage stabilizers | No. | 1
14.03 | (b) Prime-cost items and items paid for in a
lump sum
| (ii) 1. Supply of cellular telephones: | PC Sum | 1 | 9500 | 9500
| 2. Cost of calls and other charges | PC Sum | 1 | 3000 | 3000
| (ii) Handling cost and profit in respect of | % | 12500
subsubitems above B14.03(b)(ii) 1 & 3
| (v) The provision of 3G and email facilities as required | PC Sum | 1 | 3600 | 3600
| (ii) Handling cost and profit in respect of 14.03(b)(v) above | % | 3600
B14.03 | (c) Items measured by area:
| (i) Shelving as specified, complete with | m2 | 2
brackets
| (vi) Roller blinds, opaque type | m2 | 5
| (viii) Notice boards as specified | m2 | 2
14.04 | Car ports
| Car ports as specified, at offices and laboratory | No. | 2
building
1400 | TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
AMOUNT BROUGHT FORWARD
14.08 | Services:
(a) Services at offices:
| (i) Fixed costs | Lump Sum | 1
| (ii) Running costs | Month | 6
| (c) Services for rented houses | Month | 6
14.1 | Provision of photostat facilities | Month | 6
B14.12 | Provision of Engineers computer
| a) Provision of personal computer for the Engineer, | Prov.Sum | 1 | 15000 | 15000
specification in Special Condition of Contract
| b) Provision of printer for the Engineer's officer | No. | 1
for the duration of the contract.
B14.13 | Survey Equipment | P.C. sum | 1 | 2500 | 2500
| Handling cost and profit I respect of subitem B14.12(a) & (b) & survey equip | % | 17500
1400 | TOTAL CARRIED TO SUMMARY

## 1500
TAXI RANK: NDHAMBI
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1500 | ACCOMMODATION OF TRAFFIC
B15.01 | Accommodating traffic and maintaining
| temporary deviations: | km | 0.2
B15.03 | Temporary traffic-control facilities:
| (a) Flagmen | man-days | 288
| (b) Portable STOP and GO-RY signs | No. | 2
| (d) Amber flicker lights | No | 2
(g) Road signs, STW-, DTG-, TGS- and TG-series
(excluding delineators and barricades)
| (i) 1600mm x 1200mm | No | 1
| (ii) 2400 mm x 1800 mm | No | 1
(h) Delineators (DTG50J) (800mm x 200mm):
| (i) Single | No. | 10
| (ii) Mounted back to back | No. | 0 |  | Rate only
| (j) Traffic cones (500mm height) | Lump Sum | 1
B15.03 | (n) Provision of high visibility safety jackets and
| safety hats | No. | 2
| (o) Special information signs as required by Engineer | Lump Sum | 1
15.04 | Relocation of traffic-control facilities | Lump sum |  |  | Rate only
15.05 | Gravelling and repair of temporary deviations
and existing gravel shoulders used as
temporary deviations:
1500 | TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | RATE
AMOUNT BROUGHT FORWARD
| (a) Temporary deviations | m³
| (b) Existing gravel shoulders | m³ | 120
15.06 | Watering of temporary deviations | kl | 600
15.07 | Blading by road grader of:
| (a) Temporary deviations | km-pass | 0
| (c) Existing gravel shoulders used as temporary | km-pass |  |  | Rate only
deviations
1500 | TOTAL CARRIED TO SUMMARY

## 1700
TAXI RANK: NDHAMBI |  |  |  | SECTION 1700
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
1700 | CLEARING AND GRUBBING
17.01 | Clearing and grubbing
(a) Normal areas:
| (i) Within the road reserve | hectares | 0.4 |  |  | 0.9 | 0.8 | 4410 | 0 | 1.7 | 4410
| (ii) Inborrow pits | hectares | 3 |  |  | 0.5 | 0.47 | 2450 | 0 | 0.97 | 2450
(b) Existing fill embankments with slopes steeper than 1:4
17.02 | Removal and grubbing of large trees and
tree stumps:
| (a) Girth exceeding 1m up to and including 2m | No | 20 | [5 empty] | 0 | 0
| (b) Girth exceeding 2m up to and including 3m | No | 5 | [5 empty] | 0 | 0
17.04 | Clearing and grubbing at inlets and outlets of hydraulic structures | m² | 60 |  |  | 0 | 20 | 0 | 0 | 20 | 0
1700 | TOTAL CARRIED TO SUMMARY | [6 empty] | 6860 | 0 |  | 6860
Contract No: G/G/M/6104/009/2021

## 1800
TAXI RANK: NDHAMBI | [6 empty] | Escalation
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | RATE | AMOUNT | 1.15
18 | DAYWORKS
B18.01 | Labourers
| (i) Unskilled | hour | 2 | 11.72
| (ii) Semi-skilled | hour | 2 | 14.07
| (iii) Skilled | hour | 2 | 15.24
| (iv) Survey assistants | hour | 2 | 14.07
B18.02 | Foreman | hour | 2 | 240
B1.03 | Tipper truck
| (i) 3 - 5 ton | hour | 2 | 158.03
| (ii) 5.1 - 10 ton | hour | 2 | 251.38
B1804 | Loader (0.5m3 bucket) | hour | 2 | 331.26
B18.05 | Grader (CAT 14G or similar) | hour | 2 | 424.72
B18.06 | Vibratory roller (as per 33.04(b)(i)) | hour | 2 | 198.89
B18.07 | Grid roller (as per 33.04(b)(iii)) | hour | 2 | 311.24
B18.08 | Walk behind roller (Bomag BW90) | hour | 2 | 116.79
B18.09 | Air compressor, 4m3/min, complete with drills | hour | 2 | 151.19
B18.10 | Waterpump including all necessry hoses | hour | 2 | 65
B18.11 | Concrete mixer (0.3m3) | hour | 2 | 619.49
B18.12 | Trench vibrating roller or pad 0.6m width | hour | 2 | 97.57
B18.13 | Backactr, 0.3m3 | hour | 2 | 199.96
B18.14 | Tracked excavator 20t | hour | 2 | 518.87
B18.15 | Watercart, 500l | hour | 2 | 256.8
0
B18.16 | Allow provisional for purchase of materials | Prov Sum | 1 | 10000 | 10000 | 10000
B18.17 | Handling cost and profit | % | 10000 | 10
C | TOTAL SCHEDULE C: (CARRIED TO TENDER SUMMARY)

## 2100
TAXI RANK: NDHAMBI |  |  |  | SECTION 2100
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
2100 | DRAINS
21.01 | Excavation for open drains:
(a) Excavating soft material situated within the
following depth ranges below the surface
level:
| (i) 0m up to 1,5m | m³ | 375 |  |  | 252 | 0 | 5796 | 0 | 252 | 5796
| (ii) Exceeding 1,5m and up to 3,0m | m³ |  |  | Rate only
(b) Extra over subitem 21.01(a) for excavation in
| hard material, irrespective of depth | m³ | 37.5
21.02 | Cleaning and shaping existing open drains | m³ | 37.5
21.03 | Excavation for subsoil drainage systems:
(a) Excavating soft material situated within the
following depth ranges below the surface
level:
| (i) 0m up to 1,5m | m³ | 38.05
(b) Extra over subitem 21.03(a) for excavtion in
| hard material, irrespective of depth | m³ | 19.025
21.04 | Impermeable backfilling to subsoil drainage
| systems | m³ | 17.87
21.06 | Natural permeable material in subsoil drainage
systems (crushed stone):
(b) Crushed stone obtained from commercial
sources ( no overhaul):
(ii) Coarse grade stone (19mm nominal size
| aggragate) | m³ | 6.72
21.07 | Natural permeable material in subsoil drainage
systems (sand):
| (b) Sand from commercial sources (no overhaul) | m³ | 2.05
21.08 | Pipes in subsoil drainage systems:
(b) Unplasticized PVC pipes and fittings, normal
duty, complete with couplings:
| (i) 110mm diameter, perforated | m | 41.59
B21.09 | Polyethylene sheeting, 0,25mm thick, or similar
approved material, for lining subsoil drainage
| systems | m² |  |  | Rate Only
21.1 | Synthetic-fibre filter fabric:
(a) Non-wowen needle punched type:
| (I) Kaymat U24 or approved equivalent | m² | 61
21.12 | Concrete outlet structures, mahole boxes,
junction boxes and cleaning eyes for subsoil
drainage systems:
| (a) Outlet structures | No. | 2
21.13 | Concrete caps for subsoil drain pipes | No. | 2
21.15 | Overhaul for material hauled in excess of 1,0km
| free-haul (normal overhaul) | m³-km | 412.5
21.17 | Test flushing of pipe subsoil drains | No. | 1
2100 | TOTAL CARRIED TO SUMMARY | [6 empty] | 0 | 0 |  | 0
Contract No: G/G/M/6104/009/2021

## 2200
TAXI RANK: NDHAMBI | [7 empty] | Escalation
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | RATE | AMOUNT |  | 1.15
2200 | PREFABRICATED CULVERTS
22.01 | Excavation: | [5 empty] | 800
(a) Excavating soft material situated within the
following depth ranges below the surface level:
| (i) 0m up to 1.5m | m³ | 24.156 | 28.52 |  |  | 51.84
(b) Extra over subitem 22.01(a) for excavation in
| hard material irrespective of depth | m³ | 2.4156 | 118.41
22.02 | Backfilling:
| (a) Using the excavated material | m³ | 4.94 | 28.41 |  |  | #VALUE!
| (b) Using imported selected material | m³ | 2.47 | 41.5
| (c) Extra over subitems 22.02(a) and 22.02(b) for | m³ | 1.65 | 41.5
| soil cement backfilling (5% cement) | [5 empty] | 250
22.03 | Concrete pipe culverts:
(b) On Class B bedding:
| (i) 600mm dia. (Class 75D) | m |  | 631.48 |  | Rate Only
| (iii) 900mm dia. (Class 50D) | m |  | 1950 |  | Rate Only | 28.8
22.07 | Cast in situ concrete and formwork:
(b) In floor slabs for portal or rectangular culverts including formwork
, joints and Class U2 finish for:
| (i) Class 25/19 concrete | m³ | 1 | 1682.72
(c) In inlet and outlet structures, catchpits,manholes, thrust
and anchor blocks, excluding formwork but including Class U2
surface finish:
| (i) Class 25/19 concrete | m³ | 2.46 | 1682.72
(d) Formwork of concrete under subitem 22.07(c)
| (i) Class F1 surface finish | m² | 9.73 | 128.49
22.1 | Steel reinforcement:
| (a) Mild steel bars | t | 1 | 8000
| (b) High-tensile steel bars | t | 1 | 8000
| (c) High tensile steel mesh: | Kg | 32.74 | 8000
22.25 | Overhaul on excavated material carted to spoil,
backfill material (but excluding Portland cement
in the case of soil cement), existing structures
demolished and remove to spoil, and removing
and relaying, and removing and stacking
existing prefabricated culverts, for haul in
| excess of the free-haul distance of 1,0km | m³-km | 26.5716 | 2.97
2200 | TOTAL CARRIED TO SUMMARY
Contract No: G/G/M/6104/009/2021

## 2300
TAXI RANK: NDHAMBI |  |  |  | SECTION 2300
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
2300 | CONCRETE KERBING, CONCRETE CHANNELLING
OPEN CONCRETE CHUTES AND CONCRETE
LININGS FOR OPEN DRAINS
23.01 | Concrete kerbing: Class 25/19 cast in-situ concrete
(a) Prefabricated barrier kerbs SABS 927 (1969) fig 7 dwg
| GC0304/RAL03/020/46 | m³ |  |  | Rate only
23.02 | Concrete kerbing-channelling combination
(Class 25/19 cast in situ concrete in channel):
| (a)(i) Prefabricated mountable kerbs SABS 927 (1969) fig 8 dwg | m | 587.51
| (ii) Class 20/19 cast in-situ concrete in channel | m³ |  |  | Rate only
23.03 | Concrete chutes:
| (a) Prefabricated concrete chutes SABS 927 class 75 fig 7 | m | 150
23.08 | Concrete lining for open drains:
| (a) Cast in situ concrete V-drain (Class 25/19) | m³ | 60
23.12 | Steel reinforcement:
| (c) Welded steel fabric (High-tensile steel) | m² |  |  | Rate Only
23.16 | Concrete edge beams, 300mm x 150mm (class 30/19
| concrete) | m³ |  |  | Rate Only
23/22.12 | Removing existing concrete:
| (a) Plain concrete | m³ | 5
23/16.02 | Overhaul on material hauled in excess of 5,0km | m³ | 5
| (ordinary overhaul on spoil material) |  | 0
2300 | TOTAL CARRIED TO SUMMARY
Contract No: G/G/M/6104/009/2021

## 3100
TAXI RANK: NDHAMBI |  |  |  | SECTION 3100
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFITE | AMOUNT THIS CERTIFITE | QUANTITY TO DATE | AMOUNT TO DATE
BORROW MATERIALS
31.01 | Removal of excess overburden | m³ | 9000 |  |  | 100 | 120 | 1000 | 0 | 220 | 1000
31.03 | Finishing-off borrow areas in:
| (b) Intermediate material | ha | 0.5
0
| (c) Soft material | ha | 2.5
0
B31.04 | Compensation to landowners:
| (a) Prime cost sum for compensation to landowners | P.C. sum |  | 20000 | 20000 |  |  |  | 0
| (b) Handling costs and profit in respect of subitem B31.04(a) above | % | 20000 | [5 empty] | 0
B31/55.02 | Fencing of borrow pits | km | 1 | [5 empty] | 0
3100 | TOTAL CARRIED TO SUMMARY | [6 empty] | 1000 | 0 |  | 1000
Contract No: G/G/M/6104/009/2021

## 3300
TAXI RANK: NDHAMBI |  |  |  | SECTION 3300
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
3300 | MASS EARTHWORKS
33.01 | Cut and borrow to fill, including free-haul up
| to 1.0km: | [10 empty] | 150
| (a) Material in compacted layer thicknesses of | [10 empty] | 0.3
| 200mm and less: | [10 empty] | 6
| (ii) Compacted to 90% of modified AASHTO density | m³ | 1624.75 |  |  | 60 | 218 | 1200 | 0 | 278 | 1200 | 270
33.01/1601 | Overhaul within 0.5km to 1km (restricted overhaul) | m³ | 1624.75 |  |  |  |  | 0 | 0 | 0 | 0
33.01/1602 | Overhaul in excess of 1km | km-m³ | 1624.75 |  |  | 0 | 60 | 0 | 0 | 60 | 0 | 60
33.03 | Extra over item 33.01 for excavating and
breaking down material in:
| (a) Intermediate excavation | m³ |  |  | Rate only
| (b) Hard excavation | m³ |  |  | Rate only
33.04 | Cut to spoil, including free-haul up to 0,5km.
| Material obtained from: | [6 empty] | 0
| (a) Soft excavation | m³ | 32.495 |  |  | 1890 | 0 | 28350 | 0 | 1890 | 28350
| (b) Hard excavation | m³ | 81.2375 |  |  |  | 15 | 0 | 0 | 15 | 0
| (c) Intermediate excavation | m³ | 81.2375 |  |  | 0 | 1200 | 0 | 0 | 1200 | 0
| (d) Boulder excavation Class B | m³ | 32.495 |  |  |  |  | 0
33.07 | Removal of unsuitable material (including
free-haul of 0,5km):
(a) In layer thicknesses of 200mm and less:
| (ii) Unstable material | m³ |  |  | Rate only
33.1 | Roadbed preperation and the compaction of material | [10 empty] | 630
| (a) Compaction to 90% of modified AASHTO density | m³ | 720 |  |  | 420 | 630 | 0 | 0 | 1050 | 0 | 1050
33.12 | In situ treatment of roadbed:
| (a) In situ treatment by ripping | m³ | 180 |  |  | 420 | 315 | 0 | 0 | 735 | 0
| (b) In situ treatment by blasting | m³ |  |  | Rate Only |  |  |  | 0 |  |  | 315000
33.13 | Finishing-off cut and fill slopes, medians and
interchange areas:
| (a) Cut slopes | m² |  |  | Rate Only |  |  |  | 0
| (b) Fill slopes | m² |  |  | Rate Only |  |  |  | 0
3300 | TOTAL CARRIED TO SUMMARY | [6 empty] | 29550 | 0 |  | 29550
Contract No: G/G/M/6104/009/2021

## 3400
TAXI RANK: NDHAMBI |  |  |  | SECTION 3400
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
3400 | PAVEMENT LAYERS OF GRAVEL MATERIAL
34.01 | Pavement layers constructed from gravel taken
from commercial sources, including free-haul up to 1.0km
(a) Gravel selected layers compacted to:
| (i) 93% of modified AASHTO density (150mm) | m³ | 1320 |  |  | 0 |  | 0 | 0 | 0 | 0
(d) Gravel subbase compacted to:
| (i) 95% of modified AASHTO density (150mm) | m³ | 1320 |  |  | 0 | 1170 | 0 | 0 | 1170 | 0
(f) Gravel base (chemically stabilized material) compacted to:
| (i) 98% of modified AASHTO density (150mm) | m³ | 720 |  |  | 0 | 1100 | 0 | 0 | 1100 | 0
(g) Gravel shoulders compacted to:
| (i) 95% of modified AASHTO density (200mm) | m³ | 72
34.01/1601 | Overhaul within 0.5km to 1.0km (restricted overhaul) | m³ | 2112 |  |  | 1400 |  | 0 | 0 | 1400 | 0
34.01/1601 | Overhaul in axcess of 1km | m³-km | 2112 |  |  | 0 | 4000 | 0 | 0 | 4000 | 0
34.02 | Extra over item 34.01 for excavation of material in:
| (a) Intermediate excavation | m³ |  |  | Rate Only | 0 |  | 0 | 0 | 0 | 0
| (b) Hard material | m³ |  |  | Rate Only | 0 |  | 0 | 0 | 0 | 0
34.06 | Extra over items 34.04 for adding extra material as
| specified in subsubclause 3207(b)(iii): | m³ |  |  | Rate Only
(a) Gravel selected layer
34.07 | Extra over items 34.04 for temporarily blading | m³ |  |  | Rate only | 0 |  | 0 | 0 | 0 | 0
the material to windrow
34/32.04 | Removal of oversize pavement material | m³ |  |  | Rate Only | 0 |  | 0 | 0 | 0 | 0
34/32.06 | Stockpilling of material | m³ |  |  | Rate only |  |  | 0 | 0 | 0 | 0
34/38.10 | Preparing stockpile sites | m2 |  |  | Rate only |  |  | 0 | 0
[10 empty] | 0 | 0
3400 | TOTAL CARRIED TO SUMMARY | [6 empty] | 0 | 0 |  | 0
Contract No: G/G/M/6104/009/2021

## 3500
TAXI RANK: NDHAMBI |  |  |  | SECTION 3500
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
STABILIZATION
35.01 | Chemical stabilization extra over unstabilized
compacted layers:
| (a) Base layer, 150mm thick | m³ | 637
| (b) Subbase layer, 150mm thick | m³ | 0 |  | Rate only
35.02 | Chemical stabilizing agent:
| (a) Ordinary portland cement | t | 40
| (b) Slaked road lime | t | 0 |  | Rate only
35.04 | Provision and application of water for curing | kl | 200
35.13 | Extra over item 35.01 for trial sections | m² | 0 |  | Rate only
3500 | TOTAL CARRIED TO SUMMARY
Contract No: G/G/M/6104/009/2021

## 4100
TAXI RANK: NDHAMBI | [5 empty] | SECTION 4100
Item No | Description |  | Unit | Quantity | Rate | Amount
41.00 | 4100: PRIME COAT
41.01 | Prime coat:
| (c) | MC-30 cut-back bitumen | l | 112 |  |  | cut back= | 0.7 | Litre/m2 | Length= | 20 | m | witdth rd= | 8 | m
41.02 | Aggregate for blinding |  | m² | 160 |  |  | Road Length = | 20 | m | width = | 8 | m
41.03 | Extra over item 41.01 for applying the prime coat in areas accessible only to hand held equipment |  | l | 28 |  |  | prime coat applicat= | 0.7 | Litre/m2 | Length= | 5 | m | witdth rd= | 8 | m
4100 | TOTAL CARRIED TO SUMMARY

## 4200
TAXI RANK: NDHAMBI | [6 empty] | SECTION 4200
Item No | Description |  |  | Unit | Quantity | Rate | Amount
42.00 | 4200: ASPHALT BASE AND SURFACING
42.02 | Asphalt surfacing
| (a) | Continuously graded,30mm grade, using 80/100 penetration - grade bitumen
|  | (i) | 25 mm thick | m² | 160
42.04 | Tack coat of 30% stable grade emulsion |  |  | l | 112
4200 | TOTAL CARRIED TO SUMMARY

## 5600
TAXI RANK: NDHAMBI |  |  |  | SECTION 5600
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
5600 | ROAD SIGNS
56.01 | Road sign boards with painted or coloured
semi-matt background. Symbols, lettering and
borders in semi-matt black or in Class 1 retro-
reflective material, where the sign board is
constructed from:
| (i) Area not exceeding 2m² | m²
| (ii) Area exceeding 2m² but not exceeding 10m2 | m²
56.02 | Extra over item 56.01 for using:
(a) Background of retro-reflective material:
| (i) Class l | m²
56.03 | Road sign supports (over-head road sign
structures excluded):
(a) Steel tubing
"D"-shaped steel tubing profile
| (i) 75mm diameter and 3.5mm wall thickness | t
56.05 | Excavating and backfilling for road sign
| supports (not appicable for kilometre posts) | m³ |  |  | Rate only
56.06 | Extra over item 56.05 for cement-treated soil
| backfill | m³ |  |  | Rate only
56.09 | Dismantling and storing road signs with a
surface area of:
| (a) Up to 2m² | No | 2
| (b) Exceeding 2m² but not 10m² | No | 5
B56.10 | Danger plates (Types W401 and W402)
| (a) Size 200mm x 800mm at stormwater culverts | No | 4
| (b) Size 300mm x 1200mm at bridge structures | No | 4
5600 | TOTAL CARRIED TO SUMMARY
Contract No: G/G/M/6104/009/2021

## 5700
| TAXI RANK: NDHAMBI |  |  | SECTION 5700
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
5700 | ROAD MARKINGS
57.02 | Retro-reflective road-marking paint:
(a) White lines (broken or unbroken):
| (i) 100mm wide | km | 0.21
(b) Yellow lines - 100mm width
| (ii) 150mm wide | km | 0 |  | Rate only
| (d) White lettering and symbols | m² | 5
| (e) Yellow lettering and symbols | m² |  |  | Rate only
(f) Transverse lines, painted island and
| arrestor bed markings (any colour) | m² | 0 |  | Rate only
57.06 | Setting out and premarking the lines
(excluding traffic island markings, lettering
| and symbols) | km | 0.21
B57.07 | Re-establishing the painting unit:
| At the end of the maintenance period | Lump Sum | 1
5700 | TOTAL CARRIED TO SUMMARY |  |  |  | 0
Contract No: G/G/M/6104/009/2021

## 5900
TAXI RANK: NDHAMBI |  |  |  | SECTION 5900
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
5900 | FINISHING THE ROAD AND ROAD RESERVE
AND TREATING OLD ROADS
59.01 | Finishing the road and road reserve:
| (b) Single carriageway road | km | 0.5
| (b) Treatment of old roads and temporary deviations | km | 0.5
5900 | TOTAL CARRIED TO SUMMARY |  |  |  | 0
Contract No: G/G/M/6104/009/2021

## 7300
TAXI RANK: NDHAMBI |  |  |  | SECTION 7300
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY THIS CERTIFICATE | AMOUNT PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
7300 | CONCRETE BLOCK PAVING
73.01 | Interlocking pavement blocks 80mm thick class | m² | 3800
73.02 | Cast in situ concrete edge and intermediate beams | m3 |  |  | Rate Only
73.03 | Provision of approved herbicide and ant poison | [10 empty] | 3800
| structures excluded): | [10 empty] | 0.1
380
| (a) Provision of bedding sand | m3 | 380
(b) Provision of material for poisoning
| (c) Contractor's charges and profit added to the | % | 0
prime cost sum
7300 | TOTAL CARRIED TO SUMMARY |  |  |  | 0
Contract No: G/G/M/6104/009/2021

## 8100
TAXI RANK: NDHAMBI |  |  |  | SECTION 8100
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT | QUANTITY PREV CERTIFICATE | QUANTITY PREV CERTIFICATE | AMOUNT THIS CERTIFICATE | AMOUNT THIS CERTIFICATE | QUANTITY TO DATE | AMOUNT TO DATE
8100 | TESTING MATERIALS AND WORKMANSHIP
81.02 | Special tests requested by the Engineer (For the Engineer) | Prov. Sum | 1 | 40000 | 40000
8100
Contract No: G/G/M/6104/009/2021

## BUILDING
ITEM | DESCRIPTION | UNITS | QUANTITIES | RATE | AMOUNT
SECTION No.1
BILL No.3
EARTHWORKS (PROVISIONAL)
| Nature of ground | H1 | 0 |  | 0
| The nature of the ground is assumed to be loose sandy |  | 0 |  | 0
| material, therefore "earth", but possibly interspersed with "hard |  |  |  | 0
| rock" or "soft rock". |  |  |  | 0
| Carting away of excavated material | H1 | 0 |  | 0
| Descriptions of carting away of excavated material shall be |  | 0 |  | 0
| deemed to include loading excavated material onto trucks |  |  |  | 0
| directly from the excavations or, alternatively, from stock piles |  |  |  | 0
| situated on the building site |  |  |  | 0
SITE CLEARANCE
Site clearance
| Digging up and removing rubbish debries vegetation hedges, shrubs and | m² | 3800
trees not exceeding 200mm girth, bush etc.
REMOVAL OF TREES
Taking out and remove all grubbing up roots and filling in holes :
| Trees exceeding 200mm and not exceeding 500mm girth | No | 5
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
| Trenches or holes | m³ | 73.03
Extra over trench and hole excavations in earth for excavation in
| Soft rock | m³ | 3.6515
| Hard rock | m³ | 25
Extra over all excavations for carting away
| Surplus material from excavations and/or stock piles on site to | m³ | 32.8635
a dumping site to be located by the contractor
Risk of collapse of excavations
| Sides of trench and hole excavations not exceeding 1,5m deep | m² | 64.48
Keeping excavations free of water
| Keeping excavations free of water | Item | 1
Earth filling obtained from the excavations and/or prescribed stock piles
on site compacted to 93% Mod AASHTO density
| Backfilling to trenches, holes, etc | m³ | 21.94
| Filling under floors | m³ | 12.61
| Over the septic tank | m³ | 3.11
Rubble filling obtained from the demolitions compacted to 93% Mod
AASHTO density
| Rubble filling under floors | m³ | 12.61
Earth filling supplied by the contractor compacted to 93% Mod AASHTO density
| Filling under floors | m³ | 1
Supply and install soil insecticide
| To bottoms and sides of trenches etc | m² | 53.16
| Under floors etc including forming and poisoning shallow furrows against | m² | 94.97
foundation walls etc, filling in furrows and ramming
TOTAL (CARRIED FORWARD )
SECTION No.1
BILL No. 4
CONCRETE, FORMWORK AND
REINFORCEMENT
SUPPLEMENTARY PREAMBLES
UNREINFORCED CONCRETE
20MPa/19mm concrete
| Surface beds | m³ | 8.19
| Ramps | m³ | 5
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED
EARTH SURFACES
20MPa/19mm concrete
| Strip footings (Provisional) | m³ | 10.224
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED HARD ROCK
SURFACES
20MPa/19mm concrete
| Strip footings (Provisional) | m³ | 1
REINFORCED CONCRETE
30MPa/19mm concrete
| Slabs | m³ | 4.86
TEST BLOCKS
| Making and testing 150 x 150 x 150mm concrete strength test | No | 6
cube (Provisional)
CONCRETE SUNDRIES
| Wood float top of concrete to falls | m² | 295
| Concrete Wind block | No | 176
| Manhole cover | No | 2
Demolition
| Demolish existing bulding structures and transport rubble to the nearest dumping site | No | 5
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No. 5
MASONRY
SUPPLEMENTARY PREAMBLES
BRICKWORK
Sizes in descriptions
Where sizes in descriptions are given in brick units, "one brick"
shall represent the length and "half brick" the width of a brick
Hollow walls etc
Descriptions of hollow walls shall be deemed to include leaving
every fifth perpend of the bottom course of the external skin
open as a weep hole.
FOUNDATIONS (PROVISIONAL)
Brickwork of NFP bricks in class II mortar
| One brick walls | m² | 81.84
| Half brick walls | m² | 7
| 10 mm Bitumen impregnated fibre board built in vertically between brick walls and concrete | m² | 6
Brickwork reinforcement
| 230mm Wide reinforcement built in horizontally | m | 167
Faced Brickwork
Faced brick pointed with recessed vertical and horizontal joints.
| Extra over brick work for faced brickwork | m² | 40.92
SUPERSTRUCTURE
Brickwork of NFP bricks in class II mortar
| 115mm, Half brick walls | m² | 79.5
| 115mm, Half brick walls in beamfilling | m² | 12.6
| 230mm, One brick walls | m² | 282.96
Faced Brickwork
Faced brick pointed with recessed vertical and horizontal joints.
| Extra over brick work for faced brickwork | m² | 147.78
BRICKWORK SUNDRIES
Brickwork reinforcement
| 75mm Wide reinforcement built in horizontally | m | 964
| 150mm Wide reinforcement built in horizontally | m
"Fabcon" prestressed fabricated lintels
| 110 x 75mm Lintels in lengths not exceeding 3m | m | 9.32
Galvanised hoop iron cramps, ties, etc
30 x 1,6mm Roof tie 1,5m long with one end fixed to timber and
| other end built into brickwork | No | 180
| 30 x 1,6mm Cramp 500mm long with one end fixed to wood | No | 180
and other end built into brickwork
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No. 6
WATERPROOFING
SUPPLEMENTARY PREAMBLES
Waterproofing
Waterproofing of roofs, basements, etc shall be laid under a ten
year guarantee. Waterproofing to roofs shall be laid to even
falls to outlets etc with necessary ridges, hips and valleys.
Descriptions of sheet or membrane waterproofing shall be
deemed to include additional labour to turn-ups and turn-downs
DAMPPROOFING OF WALLS AND FLOORS
One layer of 375 micron "Consol Plastics Brikgrip DPC" embossed damp
proof Brikgrip DPC" embossed damp proof course
| In walls | m2 | 24.71
One layer of 250 micron "Consol Plastics Gunplas USB Green" waterproof
sheeting sealed at laps with "Gunplas Pressure Sensitive Tape"
| Under surface beds | m2 | 106.36
WATERPROOFING TO ROOFS, ETC
4mm Derbigum SP Unitorch fully bonded waterproofing
| On screeded concrete scotch roofs | m2 | 34.38
PROTECTIVE ROOFING PAINT
Supply and install Duraflex waterproofing system to manufacturers written
instructions
| On cills | m2 | 9.32
JOINT SEALANTS ETC
Tinted silicone sealing compound including backing cord, bond breaker,
primer, etc
| 10 x 10 mm In vertical expansion joints in foundations (Provisional) | m | 122.1
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No. 7
ROOF COVERINGS ETC
PROFILED METAL SHEETING AND
ACCESSORIES
406 KLIPLOK CHROMODECK silicone polyester finish fixed to to purlins
with KL 65 CLIPS fixed to TIMBER PURLINS with two CADIUM PLATED tek
3No 10.24 x 16mm long self TAPPING screws
| Roof covering with pitch not exceeding 20 degrees | m2 | 327.27
| Vertical roof covering to gables | m2 | 1.59
| Ridge capping 300 mm girth | m | 74.36
| Hip capping 300 mm girth | m | 27.52
| Valleys 300 mm girth | m | 3.17
| Flashing along gables 300 mm girth | m | 5.88
| Capping over gables 300 mm girth | m | 6.84
Moulded narrow and broad rib polyethelene filler blocks
ROOF INSULATION
"Sisalation 420" heavy industrial grade
aluminium foil based insulation
| Insulation laid taut over purlins (at approximately 1 500 mm | m2 | 327.27
centres) and fixed concurrent with roof covering including
galvanised steel straining wires
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No. 8
CARPENTRY AND JOINERY
ROOFS, ETC
PREFABRICATED PLATE ROOF TRUSS
CONSTRUCTION FOR SHEET METAL
ROOF COVERING
The following is applicable in respect of the roof
construction:
Trusses to be prefabricated "Gangnail" trusses
All trusses are to be fabricated in a factory by approved
specialists and designed by a registered professional Engineer
and shall be in accordance with SABS 0160 and 0163
The SA Pine roof trusses shall be fabricated in a properly
equipped factory by an approved specialist firm of Truss
Fabrications using metal plate connectors
Rates are further to include for such site supervision as
deemed neccessary by the fabricator of the trusses to ensure
that all the erection details have been complied with to his
saticfaction and the issue of a certificate from the fabricator to
that effect
The trusses are to be spread at average 910 mm centres and
are to be designed for:
(1) 0.6mm IBR sheet iron roof sheeting on 50 x 76mm purlins
at 1200mm centres
(2) 6mm Fibre cement ceilings
The prices of the roof trusses are to include for the following:
- All roof trusses complete with toothed connections, etc
- All bearers, hangers bracings, etc
- All shoes and hangers to support trusses as necessary
Design, supply and erection of roof
trusses with a pitch of approximately of 5
degrees
Roof trusses to new stores
| A SPECIALIST DESIGN S.A PINE COMPLETE WITH GUARANTEE DOUBLE PITCHED ROOF TRUSSES AND RAFTERS ANCHORED TO WALLS WITH GALVANISED STEEL STRAPS OR WIRE BUILD INTO BRICKWORK WITH MIN DEPTH OF 1500mm AT A PITCH NOT LESS THAN 20° COMPLETE WITH BRACING AND SUPPORT BATTENS | m2 | 327.27
Sawn softwood
| 38 x 114 mm Wall plates | m | 53.7
| 52 x 76 mm Purlins | m | 281.57
Sundries
| Two coats creosote on sawn timbers | m2 | 7.1
| 4 mm Diameter galvanised wire tie 750 mm girth wrapped around rafter | No | 44
and purlin with ends tied together
EAVES, VERGES, ETC
"Everite Flexit" pressed nutec-cement
| 10 x 225 mm Fascias and barge boards including galvanised | m | 73.76
steel H-profile jointing strips
SKIRTINGS
Wrought Meranti
| 19 x 35mm skirting | m | 115.58
DOORS ETC
Wrought meranti doors hung to steel door frames
| 44 mm Framed batten door 813 x 1 932 mm high of 22 x 102 | No | 15
mm top rail and stiles, filled in on both sides with 22 mm
V-jointed one side vertical boarding (D27)
| 813 x 2032mm masonite solid core door | No | 6
| 1270 x 2064mm masonite solid core door | No | 2
| 44 mm Framed batten door 1270 x 2064mm high of 22 x 102 | No | 15 |  | 0
mm top rail and stiles, filled in on both sides with 22 mm
V-jointed one side vertical boarding (D26)
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL NO 9
CEILINGS
SUPPLEMENTARY PREAMBLES
Descriptions:
Items described as "nailed" shall be deemed to be fixed with
hardened steel nails or pins or shot pinned to brickwork or
concrete
Items described as "plugged" shall be deemed to include
screwing to fibre, plastic or metal plugs at not exceeding
600mm centres, and where described as "bolted" the bolts
have been given elsewhere
CEILINGS ETC
NAILED UP CEILINGS
4 mm "Everite Nutec" fibre-cement
boards with "H-type" steel jointing strips
over joints
| Ceilings including 38 x 38 mm sawn softwood brandering at | m2
450 mm centres
| Extra over ceiling for 600 x 600 mm trap door of 50 x 75 | No
mm wrought softwood rebated framing with one 38 x 38 mm
sawn softwood cross brander covered with ceiling board and
fitted flush in opening
| 75mm Coved cornices | m
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No. 10
IRONMONGERY
HINGES, BOLTS, ETC
| 100 mm Brass hinge | No | 60 |  | 0
| Chromium plated WC mortice indicator bolt | No | 3
LOCK SETS
| 4 Lever lock sets complete with hinges, tricker plate, fixing screw | No | 10
Master key
HANDLES
| 100 mm Brass pull handle (Prime Cost R 100.00 excluding | No | 30
VAT)
| "Union" | H1 | 0
| "Reliable Rail 8HS" grab rail 500mm long plugged | No | 1
| "Reliable Rail 811593" grab rail 593mm girth cranked to 90 | No | 1
degrees plugged
| PUSH PLATES AND KICKING PLATES | H1 | 0
| 813 x 200 x 1,2 mm Thick satin finished stainless steel kick | No | 2
plate
| DOOR CLOSERS | H1 | 0
| Dorma TS 73 door closer | No | 10
BATHROOM FITTINGS
22 mm Diameter chromium plated towel rail 1 000 mm long
including end brackets plugged
"Nampak"
| Tidy Roll 3 toilet roll dispenser plugged (0573) | No | 8
| Disposal bin (0404) | No | 4
| Towel dispenser (0525) | No | 4
| Soap dispenser plugged (0532) | No | 4
LETTERS, NAMEPLATES, ETC
"Solid"
| "IG4 or IG5" 150 x 150mm anodised aluminium plate with male | No | 2
or female symbol
| "IG2" 150 x 150mm anodised aluminium plate with paraplegic | No | 2
symbol
| "IF1 to IF5 & IF17 to IF18" 150 x 150mm anodised aluminium | No | 2
plate with fire exit, fire extinguisher, fire hose reel or fire hydrant
symbol (Provisional)
SUNDRIES
| 38mm Diameter rubber door stop plugged | No | 10
| 10 mm Diameter steel dowel 100 mm long in and including | No | 60 |  | 0
| mortice in timber and brickwork or concrete |  |  |  | 0
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No. 11
METALWORK
| 1170 x 2032 mm High Single gate , 25 x 25 x 2mm Hollow core section frame | m2 | 1
with 75 x 25 x 2mm center lock rail with 12.5 x 12.5 x 2mm vertical integral bars
binding wire to framing
PRESSED STEEL DOOR FRAMES
1.2mm Double rebated frames suitable for 230mm brick wall
| 813 X 2032mm Chawl door | No | 3
1.2mm Double rebated frames suitable for 115mm brick wall
| 813 X 2032mm steel door frames | No | 5
1.2mm Double rebated frames suitable for 230mm brick wall
| 1270 X 2064mm steel door frames | No | 2
STEEL WINDOW FRAMES
Standard residential window with burglar bars to all sashes:
| Windows size 2000mm x 1245mm high | No | 5
COLD FORMED STEEL
| 114mm Ø x 2.5mm thk hollow core, cold formed steel pipe | m | 110
| 50mm Ø x 2.5mm thk hollow core, cold formed steel pipe | m | 107.57
| 50mm x 50mm hollow core, cold formed steel pipe | m | 370.4
| 125 x 50 x 20mm , 2.5mm thk cold formed lipped channel | m | 600
| 80 x 80 x 8 Turbing | m | 25
| 80 x 80 x 60 Rectangular section | m | 100
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.12
PLASTERING
SCREEDS
1:4 Cement plaster screeds wood floated on concrete
Average 50mm thick on flat roofs to falls and currents to
receive waterproofing
Average 65mm thick on flat roofs to falls and currents to
receive waterproofing
GRANOLITHIC
Untinted granolithic on concrete
| 20 mm Thick on floors | m2 | 1.9
| 30 mm Thick on ramps | m2 | 1
AFRICOTE PATENT HARDENED FLOOR
SCREEDS
Ocre tinted 1:4 cement river sand floor
screed with "Africote SL Floor Hardener"
dry shake powder applied to floor screed
at 6-8m2/25kg bag in two applications
and trowelled to a smooth non-granular
finish and sealed with two coats
"Africote" mat sealer and two coats
epoxy sealer, in maximum 4 x 4 m panels
with trowel cut v-grooves between
panels, all in strict accordance with the
manufacturer's written instructions
| 30 mm Thick on floors | m2 | 445
| 30 mm Thick on ramps | m2 | 6
| 30 mm Thick on vanity slabs, counters, etc | m2 | 20
| 30 mm Thick on treads and risers of steps including reedings | m2 | 8
| On narrow widths | m2 | 14
| On circular narrow widths | m2 | 2
| Terra Cotta tinted 1:4 cement river sand | H1 | 0
floor screed with "Africote SL Floor
Hardener" dry shake powder applied to
floor screed at 6-8m2/25kg bag in two
applications and trowelled to a smooth
non-granular finish and sealed with two
coats "Africote" mat sealer and two coats
epoxy sealer, in maximum 4 x 4 m panels
with trowel cut v-grooves between
panels, all in strict accordance with the
manufacturer's written instructions
| 30 mm Thick on floors | m2 | 51
INTERNAL PLASTER
Internal steel floated plaster Cement plaster on brickwork
| On walls | m2 | 278.275
| On walls circular | m2 | 38
| On narrow widths | m2 | 10.074
Cement plaster on concrete
| On ceilings and beams | m2 | 98 |  | 0
| EXTERNAL PLASTER | H1 | 0 |  | 0
| External steel floated plaster | H1 | 0 |  | 0
| Cement plaster on brickwork | H1 | 0 |  | 0
| On external weathered cill 220 mm girth, dressed 100 mm | m | 52 |  | 0
| down face of wall and projecting 15 mm |  |  |  | 0
| Cement plaster on concrete | H1 | 0 |  | 0
| On narrow widths | m2 | 6 |  | 0
| Ocre oxide tinted external steel floated | H1 | 0 |  | 0
| plaster with 4-5kg/m2 oxide tinting |  |  |  | 0
| applied in two applications |  |  |  | 0
| 90 mm Wide weathered capping to top of stone cladding | m | 16 |  | 0
| maximum 50 mm thick |  |  |  | 0
| 90 mm Wide weathered capping to top of stone cladding | m | 27 |  | 0
| maximum 50 mm thick circular on plan |  |  |  | 0
| External wood floated plaster with fine | H1 | 0 |  | 0
| rough-cast finish |  |  |  | 0
| Cement plaster on brickwork | H1 | 0 |  | 0
| On walls | m2 | 360 |  | 0
| On walls in foundations (Provisional) | m2 | 115 |  | 0
| On existing gable walls where existing split pole cladding | m2 | 73 |  | 0
| removed (Provisional) |  |  |  | 0
| On walls in patching | m2 | 2 |  | 0
| On walls circular | m2 | 66 |  | 0
| On narrow widths | m2 | 31 |  | 0
| DIVIDING STRIPS, ETC | H1 | 0 |  | 0
| 3 x 38 mm Flat section galvanized weather bar let into screed | m | 49 |  | 0
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.13
TILING
SUPPLEMENTARY PREAMBLES
Descriptions
Unless described as "fixed with adhesive to plaster (plaster
elsewhere)" descriptions of tiling on brick or concrete walls,
columns, etc shall be deemed to include 1:4 cement plaster
backing and descriptions of tiling on concrete floors etc shall be
deemed to include 1:3 plaster bedding
WALL TILING
150 x 150mm "JOHNSON" wall tiles fixed with adhesive to plaster and grouted
to manufacturers specifications (plaster elsewhere) (Provisional)
| On walls | m2 | 64.2451
| On walls in isolated panels, splashbacks, etc circular to | m2 | 3
exceeding 300 mm radius
| On narrow widths | m2 | 7.4375
| On narrow widths circular exceeding 300 mm radius | m2
FLOOR TILING
200 x 100 mm Mazista Rosa Stone cut slate tiles fixed with adhesive to
slate tiles fixed with adhesive to screed and sealed with three coat system to
and sealed with three coat system to manufacturers specifications (plaster
elsewhere)
| On floors | m² | 0
Cement plaster on concrete
| On ceilings and beams | m2 | 98 |  | 0
| EXTERNAL PLASTER | H1 | 0 |  | 0
| External steel floated plaster | H1 | 0 |  | 0
| Cement plaster on brickwork | H1 | 0 |  | 0
| On external weathered cill 220 mm girth, dressed 100 mm | m | 52 |  | 0
| down face of wall and projecting 15 mm |  |  |  | 0
| Cement plaster on concrete | H1 | 0 |  | 0
| On narrow widths | m2 | 6 |  | 0
| Ocre oxide tinted external steel floated | H1 | 0 |  | 0
| plaster with 4-5kg/m2 oxide tinting |  |  |  | 0
| applied in two applications |  |  |  | 0
| 90 mm Wide weathered capping to top of stone cladding | m | 16 |  | 0
| maximum 50 mm thick |  |  |  | 0
| 90 mm Wide weathered capping to top of stone cladding | m | 27 |  | 0
| maximum 50 mm thick circular on plan |  |  |  | 0
| External wood floated plaster with fine | H1 | 0 |  | 0
| rough-cast finish |  |  |  | 0
| Cement plaster on brickwork | H1 | 0 |  | 0
| On walls | m2 | 360 |  | 0
| On walls in foundations (Provisional) | m2 | 115 |  | 0
| On existing gable walls where existing split pole cladding | m2 | 73 |  | 0
| removed (Provisional) |  |  |  | 0
| On walls in patching | m2 | 2 |  | 0
| On walls circular | m2 | 66 |  | 0
| On narrow widths | m2 | 31 |  | 0
| DIVIDING STRIPS, ETC | H1 | 0 |  | 0
| 3 x 38 mm Flat section galvanized weather bar let into screed | m | 49 |  | 0
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.14
PLUMBING AND DRAINAGE
(PROVISIONAL)
SUPPLEMENTARY PREAMBLES
Chasing existing walls
Where pipes are chased into existing walls prices of pipes shall
include for chasing into brickwork and making good plastered
finish
uPVC pipes and fittings
Sewer and drainage pipes and fittings shall be jointed and
sealed with butyl rubber rings
Soil, waste and vent pipes and fittings shall be solvent weld
jointed
Copper pipes
Pipes shall be hard drawn and half hard pipes of the class
stated. Class 0 (thin walled hard drawn) pipes shall not be
bent. Class 1 (thin walled half hard), class 2 (half hard) and
class 3 (heavy walled half hard) pipes shall only be bent with
benders with inner and outer formers. Fittings to copper waste,
vent and anti-syphon pipes, capillary solder fittings and
compression fittings shall be "Cobra Watertech" type. Capillary
solder fittings shall comply with ISO 2016. Only compression
fittings shall be used in walls or in ground
Wire gratings
Descriptions of gutter outlets etc shall be deemed to include
wire balloon gratings
"Polylink" polypropylene pipes:
Polypropylene pipes 63mm diameter and over shall be class 12
pipes jointed with cast iron "Supraclamp" running joints
Fusion welded bends, once or twice mitred as necessary, and
tees shall be factory manufactured
Fusion welded bends and tees shall include jointing to pipes
with PVC rubber ring double Z joint couplers
Branch tees shall include flanged and bolted joints to "Polycop"
branch pipes in addition and for brass compression male iron to
copper straight couplers
Reducers shall include jointing to pipes with PVC rubber ring
double Z joint couplers and reducers shall be of sufficient
overall length to accommodate same
All pipes shall be jointed and fixed strictly in accordance with
the manufacturer's instructions
All pipe diameters are nominal external
Exposed concrete surfaces
Exposed surfaces of concrete storm water channels, cover
slabs, inspection eye marker slabs, gulley tops, cleaning eye
tops, catch pits, inspection chambers, etc shall be finished
smooth with plaster
Excavations
No claim for rock excavation will be entertained unless the
contractor has timeously notified the quantity surveyor thereof
prior to backfilling
"Soft rock" and "hard rock" shall be as defined in "Earthworks"
Laying, backfilling, bedding, etc of pipes
Pipes shall be laid and bedded and trenches shall be carefully
backfilled in accordance with manufacturers' instructions
Where no manufacturers' instructions exist pipes shall be laid in
accordance with clauses 5.1 and 5.2 of each of the following:
SABS 1200
L : Medium-pressure pipelines
LD : Sewers
LE : Stormwater drainage
Pipe trenches etc shall be backfilled in accordance with clauses
3, 5.5, 5.6, 5.7 and 7 of SABS 1200
DB : Earthworks (Pipe trenches)
Pipes shall be bedded in accordance with clauses 3.1 to 3.4.1,
5.1 to 5.3 and 7 of SABS 1200
LB : Bedding (Pipes).
Unless otherwise described bedding of rigid pipes shall be
class B bedding
Flush pans
Flush pans shall have straight or side outlets and "P" or
"S" traps as necessary
Waste unions
Descriptions of waste unions shall be deemed to include rubber
or vulcanite plugs and chains fixed to fittings
RAINWATER DISPOSAL
uPVC pipes
| 110 mm Pipes | m | 73.76
Extra over uPVC pipes for fittings
| 110 mm Bend | No | 33
| 110 mm Junction | No | 11
"Fulbore" cast iron outlets
| 80 mm Vertical outlet | No | 11
SOIL DRAINAGE
Class 9 uPVC pipes for galvanised iron
| 110mm Pipes vertically or ramped to cleaning eyes etc (no excavation) | m | 2
| 110mm Pipes laid in and including trenches not exceeding 1m | m | 72.45
deep
| 110mm Pipes laid in and including trenches exceeding 1m and | m | 50.75
not exceeding 2m deep
Extra over uPVC pipes for fittings
| 110mm 90° Bend | No | 5
| 110mm Junction | No | 12
| 110 x 50mm Reducing junction | No | 1
| 110 x 50 x 50mm 90°Double junction | No | 1
| 110mm Access bend | No | 9
| 110mm 90°Access junction | No | 9
| 110 x 50mm Reducing access junction | No | 5
| 110 x 110mm Double access junction | No | 1
Sundries
Extra over excavations for pipe trench and chambers, etc
for excavation in
| Soft rock | m3 | 2.464
| Hard rock | m3 | 2.464
| Brickwork in foundations | m3 | 1
| Unreinforced concrete foundations | m3 | 1
| Cutting through 85 mm thick concrete surface bed or paving for | m | 3.525
drainage pipe not exceeding 110 mm diameter including
making good concrete afterwards
Concrete encasing to pipes
| Unreinforced concrete encasing to vertical pipe | m3 | 1
Sundries
| Hole through one brick foundation wall for pipe not exceeding | No | 1
110 mm diameter
| Hole through one brick wall for pipe not exceeding 110 mm | No | 12
diameter and make good plaster one side of wall
| 300 x 300 x 75mm Precast concrete inspection eye marker | No | 1
slab set in ground
CARRIED FORWARD
AMOUNT BROUGHT FORWARD
Testing
| Testing drainage pipe system | Item | 1
SANITARY FITTINGS
White vitreous china
| Vaal Protea Paraplegic 104 degree p-trap pan code 7502 with | No | 2
with heavy duty white wooden Styline double flap seat and
cover, and Vaal 9 litre Hibuscus low level cistern code 710036
with purpose made chromium plated flush lever
"Citimetal" stainless steel
| "MODLE WB001 304 " stainless steel hwb with 2 no tap holes | No | 6
| "MODLE HCL Grade 304 " stainless steel wc. | No | 3
| "TE Barron bowl grade 304" stainless steel urinal | No | 3
WASTE UNIONS ETC
| 38mm Urinal waste union | No | 3
| 32mm Basin waste union, plug and chain | No | 7
TRAPS ETC
"Marley"
| 38mm Deep seal "P" or "S" trap | No | 10
"Cobra"
| 38 x 38 mm Code 340 chromium plated deep seal bottle trap | No | 3
TAPS, VALVES, ETC
Brass
| 20mm Hose Bibtap with hose union | No | 1
"Cobra watertech"
| 15 mm "Stella" 214-15 chromium plated square pattern pillar | No | 10
tap
| 15 mm 503-21CP Elbow action pillar tap | No | 4
"Cobra"
| 20mm Stopcock | No | 4
| "PB1.10" Vacuum breaker | No | 1
| PA5.1 Masterbox 400Kpa house water station complete with | No | 1
pressure control and expansion relief valve
ELECTRIC WATER HEATERS
"Kwikot"
| 100 Litre horizontal wall mounted electric water heater including | No | 1
drip tray
SANITARY PLUMBING
uPVC pipes
| 50mm Pipes | m | 12
Extra over uPVC pipes for fittings
| 50mm Bend | No | 6
| 50mm Junction | No | 7
CARRIED FORWARD
AMOUNT BROUGHT FORWARD
| 110mm Pan connector | No | 10
| 110mm Bent pan connector | No | 6
| 50mm Access bend | No | 4
| 50mm Access junction | No | 2
| 50mm "GI Two-way" vent valve | No | 2
| 110mm "GI Two-way" vent valve | No | 6
Testing
| Testing waste pipe system | Item | 1
WATER SUPPLIES
Galvanised steel water pipes
| 100mm Pipes laid in and including trenches | m | 19
| 50mm Pipes laid in and including trenches | m | 20
| 25mm Pipes laid in and including trenches | m | 29
Extra over Galvanised steel water pipes for fittings
| 25mm Fittings | No | 2
Class O copper pipes chased into wall
| 15mm Pipes | m | 30.28
| 22mm Pipes | m | 24.25
Extra over class O copper pipes for capillary fittings
| 15mm Fittings | No | 35
| 22mm Fittings | No | 15
| 22 mm Copper to iron connector | No | 2
Sundries
| 22mm Overflow pipe 1 000 mm girth twice bent | No | 1
| 225 x 225mm Cast iron stopcock box including brick chamber | No | 1
below not exceeding 1 000mm deep internally
| 300 x 300mm Meter or valve box including brick chamber | No | 1
below not exceeding 1 000mm deep internally
Testing
| Testing domestic water pipe system | Item | 1
FIRE APPLIANCES ETC
| "Everyway" hose reel complete with 30m rubber hose, | No | 1
chromium plated stopcock, shut-off nozzle and wall bracket
| 9kg Dry chemical fire extinguisher | No | 1
| 80 x 65mm Brass right angle hydrant valve with cap and chain | No | 1
| 100 mm Non return valve | No | 1
Testing
| Testing fire water pipe system | Item | 1
SLEEVES
uPVC pipes
| 110 mm Sleeve pipe in single lengths including trenches not | m | 4
exceeding 1 m deep and backfill compacted to 93%
modAASHTO density
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.15
GLAZING
GLAZING TO METAL WINDOW FRAME
4 mm Clear float glass
| Panes not exceeding 0,1m2 | m² | 12.45
| Panes exceeding 0,1m² and not exceeding 0,5m² | m²
MIRRORS
6mm Silvered float glass copper backed mirrors with polished edges fixed to
walls with 19 x 44 mm wrot meranti rabated and framed frames plugged and
pelletted to plugs in brickwork
| Mirror 450 x 880 mm high with four screws | No | 4
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.16
PAINTWORK
SUPPLEMENTARY PREAMBLES
Paint colours
Paint in colours shall have a value of 7 or less on the Munsell
system in accordance with SABS 1091 unless otherwise ststed
PAINTWORK ETC TO PREVIOUSLY
PAINTED SURFACES
PREPARATORY WORK TO EXISTING WORK
Previously painted plastered surfaces
Surfaces shall be thoroughly washed down and allowed to dry
completely before any paint is applied. Blistered or peeling paint
shall be completely removed and cracks shall be opened, filled
with a suitable filler and finished smooth
Previously painted metal surfaces
Surfaces shall be thoroughly rubbed and cleaned down.
Blistered or peeling paint shall be completely removed down to
bare metal
Previously painted wood surfaces
Surfaces shall be thoroughly cleaned down. Blistered or
peeling paint shall be completely removed and cracks and
crevices shall be primed, filled with suitable filler and finished
smooth
ON FLOATED PLASTER
Apply one universal undercoat
| On internal walls (Provisional) | m2 | 250 |  | 0
Apply two coats "Earthcote Sandpaint" - colour "Crushed
Quarry Stone" - pigmented cement and acrylic blended
textured finish in strict accordance with manufacturer's
instructions on
| On external fine rough-cast plastered walls | m2 | 479 |  | 0
| On external grille block panels in walls (measured flat on | m2 | 21 |  | 0
| undeveloped surface) |  |  |  | 0
Two coats suplic PVA emulsion paint - colour "Dusty Trail
EPL 441"
| On internal walls | m2 | 279 |  | 0
| On internal ceilings | m2 | 62 |  | 0
ON METAL
Spot priming defects in existing surface and applying two
coat high gloss enamel paint on steel
| On door frames. | m2 | 7 |  | 0
| On steel extractor ducts and cowels | m2 | 20 |  | 0
| On steel plate gates and frames (measured flat both sides). | m2 | 17 |  | 0
| On windows (measured flat both sides) | m2 | 37 |  | 0
PAINTWORK ON NEW SURFACES
ON FLOATED PLASTER
One coat primer one universal undercoat and two coats super acrylic PVA
emulsion paint - colour "….."
| On internal walls | m² | 278.275
ON FIBRE-CEMENT
One coat primer one universal undercoat and two coats
suplic PVA emulsion paint
| On internal ceilings and cornices including priming metal cover | m² | 0
strips
| On fascias and bargeboards including priming metal jointing | m² | 16.596
strips
ON METAL
Touch up factory primer, one undercoat and two coats
gloss enamel paint
| On door frames | m² | 25.61
| On windows and buglar bars (both sides measured over a full flat area) | m² | 24.9
| On 114mm Ø x 2.5mm thk hollow core, cold formed steel pipe | m² | 39.3956
| On 50mm Ø x 2.5mm thk hollow core, cold formed steel pipe | m² | 20.2765
| On 50mm x 50mm hollow core, cold formed steel pipe | m² | 74.08
| On 125 x 50 x 20mm , 2.5mm thk cold formed lipped channel | m² | 117
ON CONCRETE
One coat primer one universal undercoat and two coats super acrylic PVA
emulsion paint - colour "….."
| Concrete wind blocks (both sides measured over a full flat area) | m² | 10.78
| Two coats high gloss enamel paint | H3 | 0 |  | 0
| On doors. | m2 | 14 |  | 0
| Three coats "Spick & Span Woodcoat (X44)" clear mat varnish | H3 | 0 |  | 0
| On doors. | m2 | 86 |  | 0
| On frames | m2 | 34 |  | 0
| On glazed doors (measured flat both sides) | m2 | 98 |  | 0
| One coat Silkwood termite and rot protection and two | H3 | 0 |  | 0
| coats clear Silkwood |  |  |  | 0
| On doors. | m2 | 21 |  | 0
| On frames | m2 | 7 |  | 0
| On glazed doors (measured flat both sides) | m2 | 246 |  | 0
| On windows (measured flat both sides) | m2 | 139 |  | 0
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.17
PROVISIONAL SUMS
ATTENDANCE
NOTE
All Provisional Sums are nett.
PROFIT
Where the item for "profit" appears the Contractor is invited to
price for the desired profit on the Provisional Sum. Should the
final amount vary from the Provisional Sum of the
corresponding item then the amount allowed for profit will be
adjusted proportionately.
ATTENDANCE
Where the item "Attendance" appears, the Contractor must
price for the co-ordination of work, and general co-operation
with the Selected Sub-contractor in the execution of his duties.
Attendance will furthermore mean the receiving of and
supervision on delivery of goods, the allocation of suitable
storage area, hoisting of material to the desired level, use by
the Sub-Contractor of ordinary formwork and scaffolding, the
supply of power, lighting, water, and similar facilities, the use of
toilets and stores, building in of sleeves, switch boxes and
distribution boards, etc., and general protection and repair work
after the Sub-Contract is completed.
Should the final amount vary from the Provisional Sum of the
corresponding item then the amount allowed for attendance will
be adjusted proportionately.
SELECTED SUB-CONTRACTORS
Electrical Installation
| Provide the sum of R 250 000.00 for electrical installation and luminaires, | Item | 1 | 250000 | 250000
supplied and installed complete
| Allow for profit upon selected sub contractor installing the electrical sub | Item | 1 | 10% | 25000
contractor if required @10%
| Allow for general attendance upon the selected sub-contractor installing the | Item | 1 | 5% | 12500
electrical installation including chasing or cutting and fitting brickwork around
switchdrops, etc. and making good plaster in existing walls @ 5%
Reception Fittings
| Provide the sum of R15 000.00 (Fifteen Thousand Rand) for kitchen fittings, | Item | 1 | 15000 | 15000
hatches, cupboard, etc supplied and installed complete
| Allow for profit on last if required @10% | Item | 1 | 10% | 1500
| Allow for general attendance upon the selected sub-contractor installing the | Item | 1 | 5% | 750
joinery installation @ 5%
Landscaping
| Provide the sum of R 50 000.00 (Fifty Thousand Rand) for | Item | 1 | 50000 | 50000
landscaping, supplied and installed complete
| Allow for profit on last if required @10% | Item | 1 | 10% | 5000
| Allow for general attendance upon the selected sub-contractor installing the | Item | 1 | 5% | 2500
handrail installation @ 5%
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.18
FENCING
55.01 | Clearing the fence line, 2m wide strip | m | 400
55.02 | Supply and erect concrete palisade fence and gates (All steel
painted with an oxide primer and two top coats):
| a) Concrete palisade fencing panel 1.8m high with razor wire | m | 400
55.03 | New gates:
a) Steel Palisade sliding gate 6.0 x 1.8m including track, guide
| and rollers; manual operation | No. | 1
| b) Palisade swing single gate 1.0 x 1.8m - manual | No. | 2
55.05 | Dismantling existing fences and gates where ordered by the
Engineer on site
a) Fences
| (i) Stock-proof fences | m | 20
| (iv) Security fences | m |  |  | Rate only
| b) Gates | No. | 2 |  | Rate only
B55.06 | Demolish existing fence brickwall and dispose rubble off Site | Lump sum
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.19
SANS 1200 L | WATER RETICULATION
SANS 1200C | SITE CLEARANCE
8.2.1 | Clear and grub 1m width along pipeline route, including
| removal of trees regardless of girth for vehicular access | m | 300
SANS 1200DB | TRENCH EXCAVATION
8.3.2(a) | Excavate in all materials for pipe trenches not exceeding
600 mm width, including setting-out ,backfilling, compaction
and level control and disposal of surplus/unsuitable
material,for pipes up to 110 mm dia and depth intervals:
| Over 0.0 m up to 1.5 m | m3 | 162
| Over 1.5 m up to 2.0 m | m3 |  |  | Rate only
SANS 1200DB | EXCAVATION FOR PIPELINE STRUCTURES
8.3.2(a) | Excavate in all materials including setting out and level
control, backfilling and compaction and disposal of surplus/
unsuitable material, for the following components:
| a) Valve chambers | m3 | 10
8.3.2(b) | Extra-over items 8.3.2 (a) above for:
| Intermediate material | m3 | 5
| Hard rock material | m3 | 5
SANS 1200 LB | PIPE BEDDING
8.2.1 | Provision of bedding from trench excavations:
| a) Selected granular material | m3 | 70
| b) Selected fill material | m3 | 85
8.2.2 | Supply of bedding by importation, from borrow pits
| a) Selected granular material | m3 | 6
| b) Selected fill material | m3 | 15
8.2.4 | Encasing pipes in concrete | m3 | 6
8.2.5 | Overhaul of material for bedding | m³.km | 108
CARRIED FORWARD
AMOUNT BROUGHT FORWARD
SECTION No.1
BILL No.19
SANS 1200 L | WATER RETICULATION
SANS 1200L | MEDIUM PRESSURE PIPELINES AND ANCILLARIES
8.2.1 | Supply, lay, bed and test the following pressure pipes
complete with couplings (conforming with SABS 966
Part 1 specification) with socket for mechanical jointing,
in the following diameters:
| 63 mm dia uPVC class 6 | m | 100
| 50 mm dia HDPE class 6 | m | 450
8.2.2 | E.O items 8.2.1 for the supply, laying and bedding of the
following:
Class 6 pressure bends with socket end and
rubber seal ring joints:
| a) 50 mm dia HDPE x 90 deg. | No | 10
| b) 63 mm dia. uPVC x 90 deg. | No | 3
| c) 63 mm dia. uPVC x 45 deg. | No | 3
The following tees
| a) 63 mm equal tee | No | 4
| b) 50 mm equal tee | No | 3
Cast iron end caps
| a) 50 mm diameter | No | 2
The following uPVC female reducers
| a) 63 x 50 mm | No | 2
Isolating valves: SABS 664 class 16 CI resilient seal
waterworks type gate valves with cap, non-rising
spindle, RH closing and flanged ends (flanges drilled
to SABS 1123 Table 1600/3) including joining material:
| a) 63 mm dia to fit uPVC pipe | No | 2
| b) 50 mm dia to fit pipe | No | 4
The saddles with 25mm BSP tapping to fit the
following pipe sizes:
| a) 90 mm uPVC pipe | No. | 1
| b) 63 mm HDPE pipe | No. | 2
| c) 50 mm HDPE pipe | No. | 3
Standpipes
Standpipe unit complete as per detail drawing
| (including saddles) | No | 6
Anchor / Thrust blocks
| Class 25 Mpa / 19mm; formwork vertical plane, rough included | m3 | 6
8.2.13 | Valve and Hydrant Chambers, etc
| Fire Hydrant | No | 1
SANS 1200LF | Pipeline markers
8.2.8 | Pipeline markers planted complete as per detail drawing. | No | 6
HYDRAULIC TESTING OF PIPELINES
| Hydraulic field testing of new pipelines | m | 550
DISINFECTION OF PIPELINES
| Disinfect all newly installed pipelines with chlorine | m | 550
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.20
SANS 1200HA | WATER TANK
Supply, Install two 10000l Jojo tanks 6m above ground level
8.3.1 | completed structure
|  | No | 1
BOREHOLE DEVELOPMENT
Borehole development including geophysical survey, site
establishment, drilling up to 120m deep, ream, casing plus supply
and installation of electrical submersible pump complete with
all the necessary fittings and conecting to the tank which is
approximately 6m above ground level.
| completed structure | No | 1
| Lightning protection as specified | No | 1
| Padlock, 50 mm Viro with two keys | No | 2
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.21
1200LD | Sewer
SANS 1200C | Site Clearance
8.2.1 | Clear and grub 1m width along pipeline route, including
| removal of trees regardless of girth for vehicular access | m | 200
8.2.2 | Remove and grub large trees and tree stumps of girth
| (a) Over 1m and up to and including 2m | No |  |  | Rate only
8.2.5 | Take down existing fence where ordered by the Engineer on site | m | 50
1200DB | Excavation
8.3.1 | a) Excavation in all material (including intermediate) for backfill, compact and dispose of surplus/unstuitable material, pipe diameter up to and and including 110 mm:
| 1.0 m to 1.5 m | m3 | 220
| 1.5 m to 3 m | m3 | 80
b) Extra over item 8.3.1 (a) for excavation in:
| (i) Intermemediate material | m3 | 10
| (ii) Rock | m3 | 10
| c) Excavate and dispose of unsuitable material from trench bottom (provisional) | m3 | 10
Particular items
8.3.4 | a) Shore trench | m | 80
Existing services that intersect or adjoin a pipe trench
8.3.5 | a) Existing services that intersect a trench | No | 3
| b) Existing services that adjoin a trench | m | 1
1200 LB | Bedding
8.2.1 | Provision of bedding by importation from trench excavation
| a) Selected granular material (cradle) | m3 | 250
| b) Selected fill material (blanket) | m3 | 48
8.2.2 | Supply only of bedding by importation
8.2.2.1 | From other necessary excavations (provisional)
| a) Selected granular material (cradle) | m3 | 10
| b) Selected fill material (blanket) | m3 | 20
8.2.3 | Concrete bedding craddle (15MPA) | m3 | 1
1200LD | Sewer
8.2.1 | Supply, lay, joint, bed and test, upvc structural wall sewer
| a) 110 mm diameter | m | 200
8.2.3 | Manhole
Supply and installation of 1.0 m diameter precast concrete manholes, complete with SABS type 4 cover and frame
Depth from (measured from F.G.L):
| a) 0 m to 1.5 m | No | 5
| b) 1.5 m to 2 m | No | 1
8.2.6 | Erf connection
| a) Provision for connection type 1 | No | 4
| b) Provision for connection type 3 | No | 2
TOTAL CARRIED FORWARD TO SUMMARY
SECTION No.1
BILL No.22
SEPTIC TANK
(a) Excavating soft material stituated within the
following depth ranges below the surface level:
| (i) 0 m up to 1,5 m |  |  |  | Rate only
| (ii) Exceeding 1,5 m and up to 3,0 m | m3 | 25
| (b) Extra over subitem 22.01(a) for excavation | m3 | 10
in hard material, irrespective of depth
Cast -in situ concrete:
Slabs
| b) Class 30/19 in: | m3 | 13
Steel reinforcement
| (c) Welded steel fabric ( 395 mesh) | kg | 57
Brickwork
| (a) 115 mm thick | m² | 4
| (b) 230 mm thick | m² | 23
| Plaster | m² | 30
Accessories
| Septictank hole covers including frames( 600mm x 600mm) | No | 2
| uPVC 110 diameter | m | 150
| uPVC 160 diameter | m | 70
FRENCH DRAIN
(a) Excavating soft material stituated within the
following depth ranges below the surface level:
(i) 0 m up to 1,5 m
| (ii) Exceeding 1,5 m and up to 3,0 m | m3 | 48
| (b) Extra over subitem 22.01(a) for excavation | m3 | 4.8
in hard material, irrespective of depth
Stones
| Porous Materials | m3 | 15
| Gravel | m3 | 15
| Sand | m3 | 22
| Corrugated Iron Sheet | No | 7
Drainage Pipework
| uPVC 160 diameter Perforated pipe | m | 30
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.23
ABLUTION BLOCK
Construct Cloak Rooms as per dwg no: G/G/M/037/2015/04
|  | sum | 1
Excavation:
(a) Excavating soft material situated within the following successive depth ranges:
| (1) 0 m up to 2 m | m³ | 15
| (b) Extra over sub-item (a) for excavation in hard material irrespective of depth | m³ | 1.5
| (c) Extra over subitem (a) for additional excavation required by the engineer after the excavation has been completed | m³ |  |  | Rate only
Backfill to excavations utilising:
| (a) Material from the excavation | m³ | 4.5
| (b) Hardcore fill compacted to 93% MOD. AASHTO. | m³ | 9.5
Concrete Strip Foundation
| (a) Concrete class 25/19 for strip foundations | m³ | 6
| (b) Concrete class 20/19 for 100mm thick concrete slab | m³ | 4
Steel reinforcement for:
(a) Concrete Slab
| Welded steel fabric mesh ref. 193 | kg | 76
Stiffened Raft Foundation
(a) Cut top soil layer as specified elsewhere, make good,fill in and compact
| in G5 materials to 93% MODAASHTO. | m³ | 26
| (b) 300mm High Formwork to sides of Raft foundation. | m² | 24
| (c) Concrete class 25/19 for Raft edge beam. | m³ | 10
| (d) Concrete class 25/19 for 100mm thick concrete slab | m³ | 3.5
Steel reinforcement for:
| (a) Edge Beam stirups in R8 reinforcement. | t | 0.06
| (b) Edge Beam in Y10 longitudinal reinforcement. | t | 0.133
| (c) Reinforcement to floor slab in Mesh Ref 193. | t | 0.09
Damp Proofing
| (a) 250 micron under floors | m² | 46
| (b) under 230 mm wall | m | 35
| (c) under 115 mm wall | m | 30
| (d) Brick force for 230mm Brickwall | m | 700
| (d) Brick force for 115mm Brickwall | m | 140
Building work
Supply Stock" bricks & construct:"
| (a) 230mm External brickwalls | m² | 87
| (b) 115mm Internal brickwalls | m² | 40
| (c) 1,8m high screenwall, 230mm thick | m² | 18
Finishes
Supply & install:
| (a) Male urinal to manufactures specifications | No | 4
| (b) Wash basins Armitage Shanks" or similar approved" | No | 7
| (d) Ordinary Toilet sets Armitage Shanks" or similar approved" | No | 7
| (e) Disabled Toilet sets to manufactures specifications | No | 2
| (g) 1000 x 2032mm Steel doors and door frames | No | 2
| (h) 813 x 2032mm Steel doors and door frames | No | 2
| (j)Toilet door (YD32 2032x813cm) | No | 7
| (k) Wrought meranti19 x 75mm Skirting nailed to walls | m | 11
| (l) Provide Type E1 windows with glazing | no | 10
| (m) Claddit Asbestos Ceiling boards | m² | 42
| (n) Extra over ceiling for 600 x 600mm trap door | no | 2
Roofing
| (o) 406 kliplok sheeting as roof cover | m² | 70
| (p) 406 kliplok chromadek finish ridge caps. | m | 10
| (q) 406 kliplok chromadek finish Hip caps. | m | 8.5
| (r) Construct roof strussess @ 750c/c (as per dwg ) | m | 150
| (s) Fascia boards | m | 35
| (t) Allow for roof ventilation on either side (as per dwg) | No | 2
TOTAL (CARRIED FORWARD TO SUMMARY)
SECTION No.1
BILL No.24
HIGH MAST LIGHT
(a) Excavating soft material stituated within the
following depth ranges below the surface level:
| (i) 0 m up to 1,5 m | m3 | 120
| (ii) Exceeding 1,5 m and up to 3,0 m | m3 | 20
(b) Supply, cabling, Install and test:
| (i) High mast light on a steel pole, with electrical transformer | No | 1
(c) Setting out, laying and testing the foundation structure for the Highmast light
| (i) 30Mpa Concrete | m3 | 20
Supply, store and Steel reinforcement reinforcement
| High tensile steel | t | 0.5
TOTAL (CARRIED FORWARD TO SUMMARY)
Note on B2077: Percy: Specify length and width. Thickness of the sheeting

## summary A (2)
TAXI RANK:NDHAMBI
CONTRACT NO.: G/G/M/06104/009/2021
SUMMARY OF SCHEDULE OF QUANTITIES | [5 empty] | CONTRACT No. G/G/M6104/009/2021
SCHEDULE A (CARPARK CONSTRUCTION)
SECTION | DESCRIPTION | TENDER AMOUNT | AMOUNT PREV | AMOUNT THIS | AMOUNT TO
1200 | General Requirements & Provisions |  | 4450 | 17700 | 22150
1300 | Establishment and General Obligations |  | 72000 | 0 | 72000
1400 | Housing, Offices & Laboratories |  | #REF! | #REF! | #REF!
1500 | Accommodation of Traffic |  | #REF! | #REF! | #REF!
1700 | Clearing and Grubbing |  | 6860 | 0 | 6860
1800 | Dayworks
2100 | Drains |  | 0 | 0 | 0
2200 | Prefabricated culverts |  | #REF! | #REF! | #REF!
2300 | Concrete kerbing, concrete channelling, open concrete chutes and concrete linings for open drains |  | 0 | 0 | 0
3100 | Borrow Materials |  | 1000 | 0 | 1000
3300 | Mass Earthworks |  | 29550 | 0 | 29550
3400 | Pavement Layers of Gravel Material |  | 0 | 0 | 0
3500 | Stabilization |  | 0 | 0 | 0
4100 | Prime Coat
4200 | Asphalt Base and Surfacing
5600 | Road Signs |  | 0 | 0
5700 | Road Markings |  | 0 | 0 | 0
5900 | Finishing the Road and Road Reserve and treating old roads |  | 0 | 0 | 0
7300 | Sundry Structures |  | 0 | 0 | 0
8100 | Testing Materials and Workmanship |  | 0 | 0 | 0
SUB-TOTAL SCHEDULE A |  |  |  | #REF! | #REF!
SCHEDULE B (BUILDING, WATER AND SEWER)
BILL | DESCRIPTION | AMOUNT
3 | EARTHWORKS (PROVISIONAL)
4 | CONCRETE FORMWORK AND REINFORCEMENT |  |  | #VALUE! | #REF!
5 | MASONRY
6 | WATERPROOFING
7 | ROOF COVERINGS, ETC
8 | CARPENTRY AND JOINERY
9 | CEILINGS
10 | IRONMONGERY
11 | METALWORK
12 | PLASTERING
13 | TILING
14 | PLUMBING AND DRAINAGE (PROVISIONAL)
15 | GLAZING
16 | PAINTING
17 | PROVISIONAL SUMS
18 | FENCING
19 | WATER RETICULATION
20 | WATER TANK
21 | SEWER
22 | SEPTIC TANK
23 | ABLUTION BLOCK
24 | HIGH MAST LIGHT
SUB-TOTAL SCHEDULE B |  |  |  | #VALUE! | #REF!
TOTAL SCHEDULE A + SCHEDULE B
Add 10% of Contingencies
SUB-TOTAL
Add 15% Vat
TOTAL CONSTRUCTION AMOUNT